## Slide 1
Ice Detection on
Fan Blade

## Slide 2: Background
Problems
Safety

## Slide 3
SCADA DATA
Ice Test
Identify external factors associated with blade icing (meteorological conditions)
Establishing high reliability blade icing warning method
Develop blade icing warning system and practical application
Exploring important monitoring parameters that can characterize fan blade icing

## Slide 4
DATA OVERVIEW
TimeStamp
Blade ID
Temperature
Wind speed
wind direction
Wind angle
Pitch angle
Pitch speed
Pitch motor temperature
Current motor battery, temperature
Fan direction
Rotation rate
Power
Notes: 。

## Slide 5
Data
Pre-Proceessing
Fault number first-order differential processing
Fault occurrence interval marker
Data Normalization, discard some samples, make the normal sample about twice the icing sample
Fan Blade data
Weather data
Divided by dimension
Separate effective data by label
Hourly data Matching SCADA Data

## Slide 6
Blade Icing External representation. Power difference = theoretical power - actual power
theoretical power
Actual power influenced by
Wind Speed、Wind Direction、Pitch Angle、 yaw angle、Generator Speed、 Yaw Position
Feature
Analysis
Reasons of Blade Icing
Temperature, humidity, and temperature difference over time

## Slide 7
Model Building
Data Preprocessing

## Slide 8
Current moment data
Feature Selection
Additional data
Model Optimization

## Slide 9
 | accuracy | recall | F1
Original features（27） | 0.8939 | 0.9540 | 0.9135
Selected features（20） | 0.8857 | 0.8591 | 0.8982
Model Optimization

## Slide 10
Early-Warning
Threshold | Accuracy | Recall | F1
0.5 | 0.8939 | 0.9540 | 0.9135
0.55 | 0.8933 | 0.9028 | 0.9085
0.6 | 0.8719 | 0.8311 | 0.8840

## Slide 11
T H A N K Y O U !